## Slide 1
Assessing Racial Bias in Pulse Oximetry Using Graded Skin Tone Scale
Presenters: Brandon Wong & Karmtej Cheema
Brandon Wong, BS, UC Davis School of Medicine
Charley Yan, BS, UC Davis School of Medicine
Karmtej Cheema, BS, UC Davis School of Medicine
Neal Fleming, MD, PhD, Department of Anesthesiology and Pain Medicine,
UC Davis School of Medicine
IRB approval obtained
Patients screened for PaO2 > 125 and age < 18
SaO2 time paired 5-minute average SpO2,
Massey-Martin skin tone rating (MMSTS)
SaO2 – SpO2 compared between MMSTS groups using Kruskal-Wallis statistical test and Spearman Correlation
ABG SaO2 collected from pulmonary blood gas lab
Methods
Masimo pulse oximeter monitors appear to be accurate in different skin tones
Pulse oximetry is ubiquitously used in medicine to assess oxygenation status
Multiple recent studies report a bias in pulse oximetry measurement between white patients and other racial/ethnic groups
Race/ethnicity is likely not an accurate predictor of skin color
The purpose of this study is to examine the accuracy of pulse oximetry with different skin colors using a standardized scale
Background
Race and ethnicity correlate poorly with skin color. Despite a statistical significance difference in SaO2 – SpO2 across all MMSTS, it is unclear if there is a clinical significance to these findings as there is no trend between SaO2 – SpO2 and MMSTS.
Discussion
Low amount of high Massey score patients in the UC Davis hospital population
Study conclusions only limited to Masimo monitor and algorithms
Next step: Extend study to capture higher Massey score and lower saturation pulse ox data observations
Limitations
Sjoding et al, N Engl J Med. 2020;383(25):2477-2478.
Fawzy, et al., JAMA Internal Medicine 2022;182(7):730-738
Massey, Douglas S., and Jennifer A. Martin. 2003. The NIS Skin Color Scale.
References
Results
H = 29.77
p =.00005
MMSTS Groups
1 & 5 p = 0.035
1 & 7 p = 0.039
r = -0.07967
p = 0.0002
Statistical Significance
Notes: Suggestion Notes
-