## Instructions
RFX00060 Bidder Response Worksheet
Radiation Protection for Interventional Fluoroscopy Procedure Rooms
Purpose
Complete every response line in the Exhibit B and Exhibit C worksheets. Responses should be concise, specific, and directly responsive to the prompt.
Bidder information
Legal company name | [Enter response]
Primary contact name and title | [Enter response]
Primary contact email | [Enter response]
Primary contact telephone number | [Enter response]
Completion instructions
1. Enter responses in the yellow Bidder Response cells.
2. Select a Response Status for every prompt to confirm review.
3. Provide response tailored to this RFP; do not replace required responses with generalized marketing or promotional material.
4. Complete and return the Authorized Signature section of the RFP in addition to this workbook.
Source document | RFX00060 Radiation Shielding
RFP due date | 11/13/2026

## Exhibit B - Qualification
Exhibit B - Vendor Qualification Statement
Complete one response for every numbered prompt. Do not alter the requirement language.
Section | Section Title | Item ID | Requirement / Prompt | Bidder Response | Response Status
1 | Corporate Identity and Ownership | 1.a. | Legal company name
1 | Corporate Identity and Ownership | 1.b. | Corporate headquarters address
1 | Corporate Identity and Ownership | 1.c. | Telephone number
1 | Corporate Identity and Ownership | 1.d. | Email address
1 | Corporate Identity and Ownership | 1.e. | Website
1 | Corporate Identity and Ownership | 1.f. | Name, title, phone number, and email address of the individual authorized to act on behalf of the supplier for this solicitation
1 | Corporate Identity and Ownership | 1.g. | Identify executive officers and company principals
1 | Corporate Identity and Ownership | 1.h. | State the year the company was established
1 | Corporate Identity and Ownership | 1.i. | Describe the ownership structure
1 | Corporate Identity and Ownership | 1.j. | Identify any small business, veteran owned business and/or other diverse business ownership certifications
1 | Corporate Identity and Ownership | 1.k. | Identify any parent company, if applicable, including headquarters location
2 | Organizational Capacity and Resources | 2.a. | Describe organizational structure supporting healthcare customers
2 | Organizational Capacity and Resources | 2.b. | Identify the primary account manager and escalation contacts that would support UC Davis Health during the contract term
2 | Organizational Capacity and Resources | 2.c. | State years of relevant experience of the supplier in producing specified product
3 | Conflict of Interest Disclosure | 3.a, | Identify any officer, director, or management employee or their immediate family member employed by UC Davis Health, UC Davis or the University of California
3 | Conflict of Interest Disclosure | 3.b. | List total dollar value of business conducted with UCDH, UC Davis or the University of California within the past twelve (12) months, if applicable
3 | Conflict of Interest Disclosure | 3.c. | Detail other University of California campus(es) or facility(ies) served, if applicable
3 | Conflict of Interest Disclosure | 3.d. | List any actual or potential conflicts of interest not otherwise cited above
4 | Health Care Criminal Offense and Exclusion Certification | 4.a. | List of any company or individual convictions by employees of a criminal offense related to healthcare
4 | Health Care Criminal Offense and Exclusion Certification | 4.b. | Document any company or individual exclusion from participation in any federal healthcare program, including Medicare or Medicaid
4 | Health Care Criminal Offense and Exclusion Certification | 4.c. | Provide agreement for immediate notification requirement to UC Davis Health for any such conviction or exclusion
5 | Confidentiality and HIPAA Compliance | 5.a. | Required agreement for maintenance of confidentiality of all UCDH proprietary, operational, and patient information
5 | Confidentiality and HIPAA Compliance | 5.b. | Confirm compliance with all applicable state and federal confidentiality laws and regulations
5 | Confidentiality and HIPAA Compliance | 5.c. | Confirm execution of a Business Associate Agreement (BAA) if required
6 | Acceptance of Terms | 6.a. | Acknowledge submission of a proposal constitutes acceptance of all requirements, terms, and conditions of this solicitation
6 | Acceptance of Terms | 6.b. | Agree all work products, specifications, configurations, and documentation produced shall be the property of the University of California
6 | Acceptance of Terms | 6.c. | Accept utilization of UC Terms & Conditions as well as UC Health Purchase Agreement as the basis for any award contract
Note on D4: Requirement language reproduced from the source RFP. Do not edit this column.

## Exhibit C - Technical
Exhibit C - Technical Proposal
Complete one response for every numbered prompt. Do not alter the requirement language.
Section | Section Title | Item ID | Requirement / Prompt | Bidder Response | Supplemental Attachment Reference | Response Status
1 | Hospital-Specific Product Experience | 1.a. | Describe the vendor’s experience supplying specified equipment for acute care hospitals and academic medical centers
1 | Hospital-Specific Product Experience | 1.b. | Describe utilization of specified equipment in different types of interventional cases and procedural specialty environments
1 | Hospital-Specific Product Experience | 1.c. | Document effectiveness of equipment in meeting Code of Federal Regulations Title 10, Section 20.1003 standards for as low as reasonably achievable (ALARA) procedural team radiation exposure
1 | Hospital-Specific Product Experience | 1.c.i. | Options and components of equipment necessary to achieve various levels of exposure protection
1 | Hospital-Specific Product Experience | 1.c.ii. | Protection for personnel at various procedural positions
1 | Hospital-Specific Product Experience | 1.c.iii. | Opportunities to reduce lead-apron dependence
1 | Hospital-Specific Product Experience | 1.c.iv. | System ability to provide real-time dosimetry data as well as long-term/cumulative dosimetry reporting
1 | Hospital-Specific Product Experience | 1.d. | Detail considerations for ease of set up (inclusive of positioning modular components, draping, patient positioning, etc.) as well as disassembly, cleaning, turnover and storage of equipment
1 | Hospital-Specific Product Experience | 1.e. | Identify any prior challenges encountered in hospital utilization of equipment (e.g., unplanned post-delivery service needs, limitations of prior equipment/component releases) and how those challenges were addressed
2 | Product Design and Construction | 2.a. | Describe shielding components and radiation attenuation factors (for each if varied)
2 | Product Design and Construction | 2.b. | Describe equipment construction materials (e.g., steel, aluminum, polymer) and how they support:
2 | Product Design and Construction | 2.b.i. | How materials support structural integrity
2 | Product Design and Construction | 2.b.ii. | How materials support durability under frequent clinical use
2 | Product Design and Construction | 2.b.iii. | How materials support resistance to cleaning chemicals and disinfectants
2 | Product Design and Construction | 2.c. | Describe mobility/portability, stability, and ergonomic considerations for clinical environments
2 | Product Design and Construction | 2.d. | Describe how product design minimizes infection risk (e.g., cleanable surfaces, sealed joints, smooth edges, recessed hardware, fluid pooling)
3 | Configuration and Standardization | 3.a. | Describe available components and configuration options relevant to procedural space setting, case types and patient positioning, including dimensions and weights
3 | Configuration and Standardization | 3.a.i. | For mobile options: Include description of maneuverability/repositioning, stopping and braking abilities
3 | Configuration and Standardization | 3.a.ii. | For suspended/ceiling mounted options: Include description of all methods to suspend the product; list boom manufacturers have approved use of the product on their system(s) and provide confirming documentation from those manufacturers; provide any existing seismic preapproval documentation
3 | Configuration and Standardization | 3.a.iii. | For table mounted options: Describe all methods for table mounting; list any table manufacturers that have approved use of product on their system(s) and provide confirming documentation from those manufacturers
3 | Configuration and Standardization | 3.b. | Outline ability and experience in reconfiguring equipment, components and accessories to support evolving clinical needs
4 | Quality Assurance and Warranty | 4.a. | Describe process of manufacturing and/or sourcing of materials/components necessary to produce equipment
4 | Quality Assurance and Warranty | 4.b. | Detail quality assurance performed to ensure effectiveness and functionality of equipment
4 | Quality Assurance and Warranty | 4.c. | Outline any regulatory or compliance oversight supporting product development and/or manufacturing, either mandated (e.g. governmental standards) or voluntary (e.g. ISO certifications)
4 | Quality Assurance and Warranty | 4.d. | Provide documentation of applicable regulatory approvals, variance, exemptions or other determinations supporting use of the proposed system as an alternative to routine lead-apron use, including any applicable California Department of Public Health requirements; documentation should identify jurisdiction and any conditions or limitations
4 | Quality Assurance and Warranty | 4.e. | Describe any other quality assurance processes used in manufacturing, assembly, or sourcing
4 | Quality Assurance and Warranty | 4.f. | Identify any other applicable standards, testing, or certifications relevant to hospital use
4 | Quality Assurance and Warranty | 4.g. | Describe warranty coverage, including duration, scope, and service needs
5 | Delivery, Installation, Support and Future Enhancements | 5.a. | Describe fulfillment, lead times, and delivery capabilities following order placement; address capabilities with both purchase of new unit(s)/system(s) and replacement components/parts
5 | Delivery, Installation, Support and Future Enhancements | 5.b. | Explain installation/set up support, if applicable, and coordination with hospital operations
5 | Delivery, Installation, Support and Future Enhancements | 5.c. | Describe post-delivery support, including warranty, service agreement, replacement parts availability, educational support for current/future users and customer support/warranty response times
5 | Delivery, Installation, Support and Future Enhancements | 5.c.i. | Provide written post-warranty service contract proposals as available
5 | Delivery, Installation, Support and Future Enhancements | 5.d. | Provide information on “future proofing” – explanation of product development plans
5 | Delivery, Installation, Support and Future Enhancements | 5.d.i. | Non-binding forward-looking confidential product developments
5 | Delivery, Installation, Support and Future Enhancements | 5.d.ii. | Planned basis of commercial sale, either as add on/replacement components or as requiring complete system replacement
5 | Delivery, Installation, Support and Future Enhancements | 5.d.iii. | How future enhancements will integrate with existing commercially available equipment/components
6 | Subcontracting | 6.a, | Describe any/all subcontracting utilized for any part of product design, manufacturing, configuration, warranty/service, delivery and installation
7 | Sustainability | 7.a. | Describe sustainability considerations related to product construction materials, manufacturing, packaging or shipping
7 | Sustainability | 7.b. | Describe expected product lifecycle and strategies to extend usable life in hospital settings
7 | Sustainability | 7.c. | Outline transportation considerations for delivery of finished product to customers – where are raw materials and components sourced, location where manufacturing and subassembly takes place
8 | References | 8.a. | Provide a minimum of three (3) hospital or academic medical center references for equipment comparable to that proposed
Note on D4: Requirement language reproduced from the source RFP. Do not edit this column.